BOARD MEETING MINUTES, 	March 3, 2014

Kirk called the meeting to order at 7:02 PM at the Filtration Plant.

Attending:       Phil Abel, Aaron Behman, and Kirk Epperly.

Also present:   Cheri Salazar and Stacey Johnson.

Communication and correspondence:

- The Santa Clara County Counsel distributed a hard copy packet and email softcopy of the Statement of Economic Interest forms (form 700) and instructions to the CSD for distribution. The email as forwarded to the Board for review. The hard copy was made available at the 3/3/2014 meeting. Filing deadline is April 1, 2014.

- The Board’s last CSD meeting was held on October 7, 2013. There was no quorum for the November, December, January, and February meetings.

Consent Calendar – (Review finances and approve minutes)

1. Approval of the financial report.

2. Approval of the previous meeting minutes.

Aaron moved to approve the consent calendar. Phil seconded. Motion approved unanimously. Stacey will verify the processing of the latest tax roll distribution which should be approximately $30k.

Operations Report:

- Stacey reviewed the following types of logs that the operation team uses to perform preventative pre-inspections & regular annual equipment inspections.

    - Step Tank Pre-inspection Log which compares pump counts over time to identify abnormal cycle counts I.E. potential system problems.

    - Septic System Maintenance Log which is a detailed record of work done on any system. This log includes detailed descriptions of the equipment and processes that were undertaken during the inspection. It also records asset identification numbers as well as follow-up items and general comments.

    - Control box log cards. These log cards reside in each control panel as an ongoing summary record of all work performed on that particular pump system. Each visit to a control panel should be documented by completing the log card entry. These entries should be completed by anyone performing inspections or work on the system.

- Annual tank inspections have been completed for the 2013-2014 season.

- Main tank pumping failure  (9/2013) - Corrective actions:

  - The main tank maintenance schedule (inspection) that is currently in effect is annual. This should be reduced to every six months until a clear performance history of the new Biotube filters have been established.

  - Install overflow tank alarm – this is in progress.

  - Maintenance record logs currently reside in every control panel and are already required for all systems with pump equipment including the main tanks. Everyone that works on the equipment should fill these log cards out at the time of the work. In addition, a detailed “Septic System Maintenance Log” is required to be completed whenever any action is taken on the equipment. Spare log sheets are located in the main maintenance tank supply enclosure. Completed logs are stored offsite for historical purposes.

  - We have not received a maintenance log sheet for the work that was done on 9/12/2013.

Old and New Business:

- The Board discussed considering the approval of home graywater collection systems within the community in light of the current drought situation. Graywater is untreated household wastewater generated from hand washing, laundry and bathing. This wastewater can be diverted from the sewer to irrigate outdoor plants and landscape. The cost of installation and maintenance of such systems would be the responsibility of the home owner.

Adjournment:

Phil moved to adjourn the meeting to April 7, 2014 at the Filtration Plant (19605 Manzanita Drive). Aaron seconded the motion. Motion Approved Unanimously.  Meeting adjourned at 8:50 P.M.